# NABCEP

Entry Level Certificate of Knowledge of PV Systems

A person with this certificate has basic knowledge of photovoltaic systems, suitable for a supervised, entry level position with a dealer/installer or other PV industry company. The skills identified in this analysis do not replace Electrical Trades, Technician, Technologist or Engineering training.

## Learning Objectives to be tested

PV Markets and Applications

Task/Skill

Describe history of PV technology and industry

Describe markets and applications for PV (grid-tie, remote homes, telecom, etc.)

Identify types of PV systems (direct motor, standalone with storage, grid-backup, etc.)

Associate key features and benefits of PV with applications

Safety Basics

Task/Skill

Identify safety hazards of operational and non-operational PV systems

Identify safety hazards, practices and protective equipment during PV system installation and maintenance (electricity, batteries, roof work)

Electricity Basics

Task/Skill

Explain difference between energy and power

Define basic electrical terms

Describe the use of digital multi-meter

Calculate simple circuit values

Solar Energy Fundamentals

Task/Skill

4.1 Define basic solar terms (e.g., irradiation, Langley, azimuth)

4.2 Determine true (solar) south from magnetic (compass) south given a declination map

4.3 Describe Basic solar movement and effect of earth tilt

4.4 Predict solar position using solar path diagrams

4.5 Describe angular effects on the irradiance of array

4.6 Identify factors that reduce/enhance solar irradiation

4.7 Determine average solar irradiation on various surfaces

4.8 Convert solar irradiation into a variety of units

Determine effect of horizon on solar irradiation (shading)

4.10 Demonstrate use of Solar Pathfinder or sun charts

PV Module Fundamentals

Task/Skill

Explain how a solar cell converts sunlight into electric power

Label key points on a typical IV curve

Identify key output values of solar modules using manufacturer literature

Illustrate effect of environmental conditions on IV curve

Illustrate effect of series/parallel connections on IV curve

Define measurement conditions for solar cells and modules (STC, NOCT, PTC)

Compute expected output values of solar module under variety of environmental conditions

Compare the construction of solar cells of various manufacturing technologies

Compare the performance and characteristics of various cell technologies

Describe the components and construction of a typical flat plate solar module

Calculate efficiency of solar module

Explain purpose and operation of bypass diode

Describe typical deterioration/failure modes of solar modules

Describe the major qualification tests and standards for solar modules

System Components

Task/Skill

Describe most common solar module mounting techniques (ground, roof, pole)

Compare features and benefits of different solar mounting techniques

Explain the relationship between solar module cell temperature and environmental conditions, given mounting method (e.g., NOCT)

Describe purpose and operation of main electrical BOS components (inverter, charge controller, combiner, ground fault protection, battery, generator)

Identify key specifications of main electrical BOS components (inverter, charge controller, combiner, battery, generator)

PV System Sizing

Task/Skill

Illustrate interaction of typical loads with IV curve (battery, MPPT, dc motor)

Analyze load demand for stand-alone and grid interactive service

Identify typical system electrical output derating factors

Calculate estimated peak power output (dc and ac)

Calculate array and inverter size for grid-connected system

Calculate estimated monthly and annual energy output of grid-connected system

Explain relationship between array and battery size for stand-alone systems

Calculate array, battery and inverter size for stand-alone system

PV System Electrical Design

Task/Skill

Determine series/parallel PV array arrangement based on module and inverter specifications

Select BOS components appropriate for specific system requirements

Determine voltage drop between major components

PV System Mechanical Design

Task/Skill

Describe the relationship between row spacing of tilted modules and sun angle

Describe the mechanical loads on a PV array (e.g., wind, snow, seismic)

Performance Analysis and Troubleshooting

Task/Skill

Describe typical system design errors

Describe typical system performance problems

Associate performance problems with typical causes

List equipment needed for typical system performance analysis

Compare actual system power output to expected

Identify typical locations for electrical/mechanical failure